City of Auburn

Codes Enforcement

# Required Inspections

Commercial

This building permit covers all trades except plumbing, electrical and heating and air. These trades are required to permit their work with this office.

The following inspections are required for each building project. Some may not apply to every project.  One (1) day notice is required for all inspections.

- Footing

- Plumbing under Slab

- Electrical under Slab

- Slab

- Site Pole

- Sprinkler - exterior

  - Underground pressure test and Flush from vault to building - Codes

  - Underground pressure test and Flush from main to vault - Public Works

  - Vault installation – Public Works

  - Vault 			- Codes

- Rough-Ins

  - Electrical Rough-In

  - Heating and Air Rough-In

  - Plumbing Rough-In

  - Gas Rough-In

  - Sprinkler

- 2 hr pressure test and flush – Codes

- Rough in - Codes

    - Framing  (All Rough-Ins Must Pass Before Requesting The Framing Inspection)

    - Sewer

  - Grease Trap

    - Installation – Public Works

    - Sewer to and from grease trap – Codes

    - Temporary Power

    - Driveway

    - Gas Service

    - Final

  - Building – Codes

  - Sprinkler – Codes

  - Fire Alarm – Codes

  - Grease Trap – Public Works

- Must have portable toilet, gravel drive and erosion control before first inspection

If you have any questions about this or anything else during the project please call us at 501-3170 between 7:30 am and 4:00 pm.